## Slide 1: Toward Highly Available Cloud Systems
Chuanxiong Guo
Bytedance
APNET 2018
Notes: Title: Toward Highly-Available Cloud Systems
Abstract: IT companies around the globe are building large-scale cloud systems to meet the demands of an increasing number of cloud computing services. These cloud systems, however, can be brought down to their knees, by a large number, sometimes high profile, incidents. These incidents reduce cloud system availability and cost companies’ money, brand reputation, and team moral.
In this talk, I will present my on-going journey of building highly-available cloud systems, from measurement and monitoring, to failure localization and understanding, and to automatic mitigation and intervene. The goal of this journey is to build highly-available systems that recover from failures when they happen, and that avoid avoidable failures by learning from the past.
Brief bio:
Chuanxiong Guo is a director of the AI Lab of Bytedance Inc. He is currently working on data center networking and machine learning systems.

## Slide 2: Outline
Background
Gray failure understanding
Panorama: Capturing in-situ observability for gray failure detection
ByteBrain: Real-time WAN Traffic Burstiness Detection and Scheduling
Summary

## Slide 3
Code Repo
Software systems
Deployment/provisioning
Resource mgmt
Config/ Management
Monitoring
Data Repo
Software rules the clouds

## Slide 4
Incidents, incidents, incidents
Notes: All looks great, but there is one big problem.

## Slide 5: System availability is plagued by incidents
Chart: 
| Aug | Sep | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May
Avail %
99.999%
99.99%
5 min downtime per year
53 min downtime per year
Notes: As a result, five nines availability is still a challenge

## Slide 6
Code Repo
Software systems
Deployment/ provisioning
Resource mgmt
Config/ Management
Monitoring
Data Repo
Incident handling practice
Lessons learned
Notes: The current incident handling is mainly a manual process.
We typically have dev, and ops.

## Slide 7
Deployment
Provisioning
Monitoring
Resource mgmt
Ops
Incident resolution, mitigation, localization,
detection
Design
implement
Automation
Dev
Notes: This figure shows my understanding of the journey of software automation.

## Slide 8
Deployment
Provisioning
Monitoring
Resource mgmt
Ops
Incident resolution, mitigation, localization,
detection
Design
implement
Automation
Dev
Software takeover:
we are here
Software takeover:
Future to go
Software takeover:
Done

## Slide 9
Deployment
Provisioning
Monitoring
Resource mgmt
Automation
Incident localization
detection
Design
implement
Automation
Dev
Incident resolution, mitigation
Availability fundamentals
Gray failure
Panorama
ByteBrain
Deepview
Netbouncer
Pingmesh
Notes: I am taking a bottom up approach.
Started from incident detection and localization, and then took a detour, to understand the availability fundamentals, and now is working on automatic incident mitigation and resolution.

## Slide 10
Understanding Gray Failure
Notes: Start from gray failure

## Slide 11: Case study: redundancy in datacenter network (1)
Core
Aggregation
ToR
A
B
r1
r2
increasing # of core switches helps with availability
crash

## Slide 12: Case study: redundancy in datacenter network (2)
Core
Aggregation
ToR
A
B
r1
r2
Workload: single round trip
packets will not be re-routed application glitches or increased latency
increasing # of core switches may not affect chance of being affected
random packet drop
p

## Slide 13: Case study: redundancy in datacenter network (3)
Core
Aggregation
ToR
A
B
r1
r2
Workload: send multiple requests
wait for all to finish (e.g., search)
r3
r4
C
D
E
high chance to involve every core switches for each front-end request
gray failure at any core switch will cause delay
more core switches worse tail latencies
random packet drop

## Slide 14: The many faces of gray failure
So, what is a gray failure?
A performance issue.
A problem that some thinks is a failure but some thinks is not, e.g., a 2% packet loss. The ambiguity itself defines gray failure. If everyone agrees it is a problem, it is not a gray failure.
A Heisenbug, sometimes it occurs and sometimes it does not.
The system is failing slowly, e.g., memory leak.
There is an increasing number of transient errors in the system, which results in reduced system capacity even if the system still manages to continue working.
What is a formal way to define and study gray failure, one that potentially sheds light on how to address it?
Notes: We typically call the above failure a gray failure. But what is a gray failure?
Then different people may have very different views.

## Slide 15: An abstract model
System Core
System
Observer
Reactor
App1
App2
App3
probe
report
distributed storage system
IaaS platform
data center network
search engine
…
web app
analytics
user/operator
…
Appn
system2
Note: these are logical entities

## Slide 16: Gray failure trait: differential observability
System Core
System
Observer
Reactor
App1
App2
App3
probe
report
Appn
observation
observation
 | All apps deem system good | Appi deems system bad
observer deems system good |  | 
observer deems system bad |  | 
different entities come into different conclusions about whether a system is working or not
Gray Failure!
❶
❷
❸
❹
Crash, fail-stop
Fault tolerance at play, or a false positive
difference
Healthy or w/ minor latent fault

## Slide 17
Core
Aggregation
ToR
A
B
r1
r2
r3
r4
C
D
E
random packet drop
Recap from gray failure viewpoint
a1

## Slide 18
Panorama: Capturing In-Situ Observability for Gray Failure Detection
Notes: Based on above observation, we further carried out a project called panorama for gray failure detection and localization.

## Slide 19: How failures were detected
Watchdog
Workers
Failure detector
Are u ok?
Yes
Try:
….
Catch exception:
log_error(“oops”)
Req

## Slide 20: How Panorama detects failure
Workers
Try:
….
Catch exception:
report_error(“oops”)
Req
Try:
….
Catch exception:
report_error(“timeout!”)
Req
A
B
C
Local Observability Store
Verdict service
Observation exchange
Observation exchange

## Slide 21
ByteBrain: Real-time WAN Traffic Burstiness Detection and Scheduling
Notes: Now I have touched gray failure, and how to take the understanding to do better detection.
Next, I will introduce a project that we currently are doing for automatic incident mitigation.

## Slide 22: ByteBrain motivation
A
B
C
WAN

## Slide 23: ByteBrain software stack
ByteBrain Controller
Real-time
Streaming
Burstiness Detection
Agents
Servers
Switches
NetStore
Network Context

## Slide 24: Toward highly available cloud systems
Understanding Insight
Engineering
Design Implementation
Incident mitigation, detection
d
d
ByteBrain
Panorama
Gray failure

## Slide 25: Toward highly available cloud systems
Networking plus systems
  Many networking systems (e.g., switch software) need systems thinking
Networking plus machine learning
  A field that becomes a melting pot of two (very different) ways of thinking
Come and join us!

## Slide 26: Acknowledgement
Pingmesh (sigcomm15): Lihua Yuan, Dong Xiang, Yingnong Dang, Ray Huang, Dave Maltz, Zhaoyi Liu, Vin Wang, Bin Pang, Hua Chen, Zhi-Wei Lin, Varugis Kurien
Gray failure (hotos17): Peng Huang, Lidong Zhou, Jacob Lorch, Yingnogn Dang, Murali Chintalapati, Randolph Yao
Panorama (osdi18): Peng Huang, Lidong Zhou, Jacob Lorch
Deepview (nsdi18): Qiao Zhang, Guo Yu, Yingnong Dang, Nick Swanson, Xinsheng Yang, Randolph Yao, Murali Chintalapati, Arvind Krishnamurthy, and Thomas Anderson
NetBouncer (nsdi19): Cheng Tan, Ze Jin, Tianrong Zhang, Haitao Wu, Karl Deng, Dongming Bi, Dong Xiang
ByteBrain: Bytedance Networking Team

## Slide 27: Q&A